Specification of heavy-duty swing door operator

| - Item | - Parameter | - Remark |
| --- | --- | --- |
| - Working voltage | - 220VAC±15% 50Hz |  |
| - Motor operating voltage | - 24VDC |  |
| - Power of motor | - 400W |  |
| - Rated current | - 20A |  |
| - Rated Rotational speed | - 3000rpm |  |
| - Maximum output torque | - 650Nm |  |
| - Angular speed | - 24°/s |  |
| - Maximum opening Angle | - ±90° |  |
| - Maximum length of door leaf | - 6m (single door) |  |
| - Maximum weight of door leaf | - ≤1200Kg |  |
| - Thermal protection on motor winding | - F Class 155℃ |  |
| - Operating frequency | - Continuous running below 70℃ |  |
| - Operating ambient temperature | - -35-70℃ |  |
| - Working environment | - Indoor or sheltered outdoor environments |  |
| - Running noise | - ≤65dB |  |
| - Temperature rise | - ≤15℃ |  |
| - Weight of main unit packaging | - 19.1Kg |  |
| - Weight of controller packaging | - 3Kg |  |
| - Body size (length * width * thickness) | - 510*305*255mm |  |
| - Packing size | - 385*375*160mm |  |